# Heating Checklist

## 5a – Checklist Purpose

This is an extended and editable version of the Church of England’s Heating Checklist.  Completing it serves two purposes.

- It is designed to help the PCC to think about the building, its users, contents, and heating system, and to document the needs, performance, costs, and constraints to help you objectively determine what you may need from a future heating system.

- To enable the DAC and Chancellor to understand your needs and deliberations  when considering Faculty applications related to a heating system, and to demonstrate due regard to relevant guidance has been given.

| Background Information |  |
| --- | --- |
| Building name |  |
| Completed by |  |
| Date |  |

## 5b – People

| What do users need, now & in the future? What causes discomfort? |  |
| --- | --- |
| Currently, when is the church regularly used during the week for church purposes? What is the pattern of services? What areas do they use? How many people are there in each area? (don’t forget the vicar!) We recommend having a plan of the church, identifying when each area is used, who by, and what for. (You could think of each area as a separate room.) |  |
| Currently, when is the church regularly used during the week for community purposes? What is the pattern of activities? What areas do they use? How many people do we need to heat? |  |
| Do these regular users have particular needs; for example are there small children, or elderly people who need to be a little warmer? |  |
| Are church users in the main seated, or are they moving around the building? |  |
| Currently, what are the occasional uses of the church, for example for weddings and concerts? |  |
| Does the usage of the church vary with the seasons? |  |
| Do visitors drop in? For how long? Are they generally dressed for a relatively cool church, or in lightweight clothes? |  |
| Are church users comfortable in our building currently? If not, what causes them discomfort? |  |
| Who complains, and why? |  |
| In the future, what changes do we expect to see to the patterns, above? |  |
| Is there anything in your Mission Action Plan that may alter the use of the building? |  |
| In the future, when we have a heating system that better meets our users’ needs, what do we want to be different? |  |

## 5c – System

| What do we have now, and what needs changing? How long will it last? |  |
| --- | --- |
| What heating equipment is already installed? Boilers, radiators, infrared, pew heaters, portable heaters, etc. |  |
| If there is a boiler, what fuel does it use? |  |
| How many boilers are there? |  |
| What is the rated output of each boiler (kW, if known)? |  |
| What heat emitters are there? (e.g. radiators, trench heaters (finned or un-finned, under pew pipes, perimeter pipes.) |  |
| Do we have more than one heating zone (e.g. a hall that can be heated separately to the nave)? |  |
| Do we have a plan of the heating? (If yes, make it available to any advisors you consult and the DAC.) |  |
| What condition is our current heating system in? |  |
| What is its likely lifetime? Is there a plan for when the boiler breaks down? |  |
| Overall, does it do what is needed? If not, what do we want it to do, that it can’t do now? |  |
| Do we think it could it be adapted to achieve greater efficiency and a lower carbon footprint? |  |
| Do we think there is a better solution, with which we could replace it? |  |
| Including photos of boilers, flues, radiators, heating pipes, infrared heaters, pew heaters etc can help the DAC understand what is currently in place, and also provides some historic records if they are ultimately changed or removed. |  |

## 5d – Building and Fabric

| Where is there heat loss and can we reduce it? |  |
| --- | --- |
| Are there cold, draughty spots? What causes them? (Poorly fitting doors? Broken or poorly closing windows? Air being drawn up to the tower or belfry? ) Marking these on a plan can help understand them, and where interventions may help most. |  |
| Where does heat ‘leak’ from the building; consider the tower, windows, walls, and doors. |  |
| What ability do we have to reduce heat loss, for example through draught-proofing, insulation, or soft furnishings? |  |
| Do we have an asbestos plan of the building? (If yes, make this available for any advisors you consult. If not, you need one.) Does it affect our options? |  |
| Is the building generally well maintained? Are there any defects highlighted in the most recent QI report which should be addressed before introducing a new heating system? |  |
| Are there areas where water condenses on surfaces, when the building cools down? Marking these on a plan may be helpful. |  |
| Is there a statement in our latest QI report recommending conservation heating is required? |  |
| If conservation heating is required, what building / fabric elements need maintaining, and in what temperature and humidity ranges? (Your professional adviser can help with this). |  |

## 5e – Performance

| How well to the people, systems, and building interact? |  |
| --- | --- |
| What temperature(s) do we currently set our thermostats to, and why? |  |
| If we have a gas or oil boiler, do we know the flow and return temperatures? |  |
| What times of the week does the heating system currently run, and why? |  |
| When we turn on the heating, how long does the building take to come up to temperature? |  |
| When we turn on the heating, and warm air starts to rise, does it displace cold air and cause discomfort elsewhere? |  |
| When we turn off the heating, how long does the building take to cool back down? |  |
| Considering the above, are the heating timings optimised for the uses of the building? How do we know? |  |
| Who has control over the programming of the heating system? Does the current system work well for them? |  |
| When we have an unexpected meeting or event, is the system responsive enough? |  |
| Are the controls user friendly? Are they well understood? Does more than one person know how to use them? |  |
| How does the temperature and humidity vary during the week and year? (You can measure this with inexpensive data loggers.) |  |
| What temperatures does the heating achieve (this may be different to the temperature the thermostats are set to)? |  |
| Given enough time, can our heating system heat the building to the temperature we would like (even if we are choosing not to for cost reasons)? |  |
| Does the current heating system meet our needs (heating us to our desired temperature, at a cost we can afford)? |  |

## 5f – Listing and Interiors

| What fragile or precious objects/materials do we have, and what needs special care? |  |
| --- | --- |
| What listing is our church? What features of the church contribute to this listing? |  |
| What does our building contain in terms of historic fabric, timber elements (such as screens, pews or altarpieces), pipe organs, wall or other paintings, or other items which will require special consideration? We recommend making a list of items and the specific considerations required. |  |
| What are the humidity and heating requirements for the organ? |  |
| Is the heating system, or elements of it, considered to be of historic interest? |  |
| At what rate does our building heat up and cool down? (More than 2oC temperature rise per hour may be damaging to some fabric elements.) |  |
| Are wall-mounted panel heaters a realistic option, or do historic fabric or finishes prevent this? |  |
| Are pew heaters a realistic option, i.e. you have pews, and the pews are not historic (pre 18C)? |  |
| Is digging in the grounds to install a ground source heat pump a realistic option? They are much harder to install if burials surround the church, although not impossible. (There are two options for the pipework; snaking pipework near ground level or deep vertical boreholes.) |  |
| Is under floor heating a realistic option? Historic floors should generally not be lifted. |  |
| Are there monuments or brasses which would be affected by having heaters or heating pipes close to them? |  |

## 5g – Energy Use

| What is our current energy use, utility cost, and carbon footprint? |  |
| --- | --- |
| What is the annual usage of oil / gas / electricity? (litres or kWh per year) |  |
| What is the annual spend on oil / gas / electricity? |  |
| Do we have smart meters installed for our electricity and/or gas? |  |
| If we have smart meters, have we requested our energy usage data from our energy supplier so we can see when we are using energy? (This can be used to check controls are working as they should be). |  |
| Who reads the meters, and how often? |  |
| How is information about energy use shared with the church community? |  |
| What is our gross carbon footprint? (This can be calculated quickly using the Church of England Energy Footprint Tool online.) |  |
| What is our net carbon footprint? (Use the Energy Footprint Tool online.) |  |

## 5h – Money

| What budget do we have for up-front capital, for maintenance over time, for running costs every year, and for future replacement? |  |
| --- | --- |
| How much do we currently spend on heating bills? |  |
| Have we reduced our level of heating use to make it affordable? If yes, how has this impacted on the comfort and use of the space? |  |
| How much do we currently spend on heating servicing / maintenance / repairs? |  |
| Is the current level of expenditure affordable? |  |
| What budget has the PCC set for replacing the heating system? |  |
| What amount can the church realistically afford to spend on maintenance, over (say) the next ten years? |  |
| What amount can the church realistically afford each year for utility bills? |  |
| What amount can the church realistically afford to invest in a ‘sinking fund’ for the systems’ eventual replacement? |  |
| If we need expert advice, what budget has the PCC authorised for advisors? |  |

## 5i – Constraints

| What connection do we have to utilities? What space constraints are there? |  |
| --- | --- |
| Are we connected to electricity? |  |
| Is the electricity supply single phase or three phase? |  |
| What size are the fuse(s) on the incoming electricity supply? |  |
| Do we know if we can increase the size of our electricity supply, and what this might cost? |  |
| Has our QI report recommended improvements? |  |
| What space is there within our boiler room for change in the size of equipment? Are there any other suitable locations? |  |
| Is biomass a realistic option? It generally requires room for a storage hopper for the wood pellets. It may not be allowed in some areas due to the Clean Air Act. It will require weekly attention and regular maintenance. |  |
| Are we connected to gas? |  |
| Are there any other constraints? |  |

## 5j – Advice

| Who can we ask, or commission, for advice? |  |
| --- | --- |
| What advice do we need, to help us choose the right heating system (including conserving any historic fabric / interiors)? What questions don’t we know the answers to? |  |
| Have we had an energy audit? If yes, what did it recommend? If not, could we commission one? (Parish Buying offers them as do some dioceses.) |  |
| Does the DAC have a heating or sustainability advisor, who can offer up-to-date guidance to us on low and zero carbon technologies? |  |
| Is there anyone on our PCC who is expert and up-to date in this area? |  |
| Can our QI recommend an advisor? |  |
| If you need advice and it is not available from the sources above, try the CIBSE directory: https://www.cibse.org/buildingservices/find-a-specialist. There is more on this in the next section, on Options Appraisals. |  |

## 5k – Consultations

| Who do we need to involve, and when? |  |
| --- | --- |
| Which church users should we speak to about our heating system (for example regular hirers or tenants)? |  |
| Which church volunteers and staff should we speak to (for example the treasurer, church wardens, youth leaders, and PCC members)? |  |
| Who in the deanery and diocese should we speak to (for example the DAC Secretary, Diocesan Environment Office, and Archdeacon)? |  |
| Which external organisations should we speak to (for example the amenity societies)? |  |
| Do we need to consult the local planning authority? |  |

## 5l Objectives

| Overall, how important are the following to us? | Top three | High | Medium | Low |
| --- | --- | --- | --- | --- |
| Environmental factors (For example, cutting our carbon footprint by reducing our energy use and/or switching to a cleaner fuel) |  |  |  |  |
| Conservation of our historic interiors |  |  |  |  |
| Making church users comfortable in the building |  |  |  |  |
| Increasing lettings income |  |  |  |  |
| Capital cost |  |  |  |  |
| Maintenance cost |  |  |  |  |
| Running cost |  |  |  |  |
| Replacement cost |  |  |  |  |
| Ease of use |  |  |  |  |
| Reliability |  |  |  |  |

## 5m – Conclusions

| What are the main things we learned from this review? |  |
| --- | --- |
| What are our next steps? |  |